|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| **Participant ID:** | **Group:** | | | **Date:** | **Time:** |
| **Preparation** | | | **Comments** | | |
| Set up lab recorder (ID, EEG) | |  |  | | |
| Sign information & consent form | |  |
| Camera | |  |
| Respiration belt (A1) | |  |
| ECG electrodes (A2) | |  |
| Photosensor/ LUX (A3) | |  |
| Pulse sensor (A4) | |  |
| EEG sensor | |  |
| Check EEG signals | |  |
| Check BITalino signals | |  |
| Show signals to participant | |  |
| **RS** | | | **Comments** | | |
| Name lab recorder file as RS | |  |  | | |
| Instructions | |  |
| Select all 5 channels on lab recorder | |  |
| Start lab recorder | |  |
| RS | |  |
| Stop lab recorder | |  |
| **TAP** | | | **Comments** | | |
| Name lab recorder file as TAP | |  |  | | |
| Instructions | |  |
| Start lab recorder | |  |
| TAP | |  |
| Stop lab recorder | |  |
| **HCT** | | | **Comments** | | |
| Name lab recorder file as HCT | |  |  | | |
| Instructions | |  |
| Start lab recorder | |  |
| HCT | |  |
| Stop lab recorder | |  |
| **Finish** | | | **Comments** | | |
| Remove devices | |  |  | | |
| Debriefing | |  |
| Save data file | |  |
| Send expenses collection form | |  |
| Clean devices for next participant | |  |
| Report comments to excel | |  |